## pvwatts_monthly
PVWatts: Monthly PV Performance Data
Requested Location: | 1540 Jackson Ave Ben Lomond CA 95005
Location: | SAN FRANCISCO, CA
Lat (deg N): | 37.62
Long (deg W): | 122.38
Elev (m): | 5
DC System Size (kW): | 7
Module Type: | Thin Film
Array Type: | Fixed (open rack)
Array Tilt (deg): | 35
Array Azimuth (deg): | 270
System Losses: | 14
Invert Efficiency: | 96
DC to AC Size Ratio: | 1.1
Average Cost of Electricity Purchased from Utility ($/kWh): | 0.16
Initial Cost | 3.3
Cost of Electricity Generated by System ($/kWh): | 0.1
Month | AC System Output(kWh) | Solar Radiation (kWh/m^2/day) | Plane of Array Irradiance (W/m^2) | DC array Output (kWh) | Value ($)
1 | 378.7739 | 2.1241 | 65.8456 | 400.7003 | 59.05
2 | 498.6427 | 3.0616 | 85.7242 | 523.5248 | 77.74
3 | 726.9357 | 3.9922 | 123.7569 | 761.9835 | 113.33
4 | 921.5825 | 5.2643 | 157.9295 | 963.7253 | 143.67
5 | 1114.2638 | 6.1938 | 192.0072 | 1163.8765 | 173.71
6 | 1163.5612 | 6.755 | 202.6509 | 1215.425 | 181.4
7 | 1257.8621 | 7.0954 | 219.9569 | 1313.4272 | 196.1
8 | 1115.9167 | 6.2487 | 193.7101 | 1165.6373 | 173.97
9 | 911.9245 | 5.2791 | 158.3729 | 952.6929 | 142.17
10 | 666.4371 | 3.7251 | 115.4771 | 698.4159 | 103.9
11 | 400.9027 | 2.3164 | 69.4912 | 422.7964 | 62.5
12 | 344.7879 | 1.9161 | 59.3977 | 365.1068 | 53.75
Total | 9501.5907 | 53.9716 | 1644.3203 | 9947.312 | 1481.29